| PI-7 | Adopt a standard solar PV permit application form aligned with best practices. |
| --- | --- |

Objective:

While requiring a single application form under existing permitting processes represents an improvement over requiring both a building and electrical permit, it may still be more time consuming to complete, review, and approve permits via a process not specifically designed for solar. Developing a solar-specific permit (or combining building and electrical permits with revisions to collect information unique to solar energy systems) and posting application materials online can save time and money for both those completing the forms (and their customers) and the local government staff reviewing and approving these applications.

Information about SolSmart’s Simplified Solar Permitting Process, including electrical worksheets, diagrams, checklists, and additional resources are available on SolSmart’s website.

This credit is completed when the solar permit application is posted on the local government’s webpage. It is recommended that the local government hyperlink to the solar PV permit application from the solar permitting checklist and the solar landing page (if applicable).

If a solar permit application is the only required permit form, then the local government also completes the PI-6 credit: Require no more than one permit application form for a small rooftop solar PV system.

Verification:

- Provide a link to the standard solar PV permit application form.

How to Use the Template

- Copy the text on the next page below the double lines

- Paste the text on your local government’s letterhead or other branded document

- Review the highlighted sections and update with the appropriate information

- Review permit application form fields and update as necessary (gather and include information that aligns with local government permitting process)

- Update the highlighted text in the footer to maintain version control

IMPORTANT: The template solar PV permit application uses Tables to ensure consistency and proper formatting. In some sections table borders are hidden. Contact your technical assistance provider if you need help reformatting the template.

Optional: As more solar installations are paired with energy storage; local governments should consider including fields on the permit application to gather basic information about any energy storage system included with the solar project.

| Includes Energy Storage System: Yes ☐ No ☐ |  |
| --- | --- |
| Total System Capacity Rating: kWh | Power Rating: kW AC ☐ or DC ☐ |

Solar Photovoltaic (PV) Permit Application

| New Application ☐ | Revised Application ☐ |
| --- | --- |

| SECTION 1 – General Info |  |  |
| --- | --- | --- |
| Project Address |  |  |
|  | ( ) - |  |
| Property Owner’s Name | Phone Number | E-mail |
| Property Owner’s Mailing Address (if different from Project Address) |  |  |

| SECTION 2 – Project Details |  |  |
| --- | --- | --- |
| Building Type/Existing use |  |  |
| Single Family ☐ | Duplex ☐ | Multi-Family ☐ |
| Commercial/Industrial ☐ | New Construction ☐ | Other: |
| New or Existing PV System | PV System Type | Inverter Configuration |
| New System ☐ | Roof mount ☐ | String Inverter ☐ |
| Additional System ☐ | Ground mount ☐ | String Inverter w/ DC Converters ☐ |
| System Replacement ☐ | Building Integrated / Other ☐ | Microinverters or AC Modules ☐ |
| Total PV System Size | Total Sq. Ft of PV System | Project Valuation |
| kW DC | Sq Ft | $ |

Project Description:

| SECTION 3 – Contractor Information |  |  |  |
| --- | --- | --- | --- |
| Contractor Business Name |  | Contractor License Number |  |
| Business Address |  |  |  |
|  | ( ) - |  |  |
| Contractor Contact Name | Phone Number |  | E-mail |
| Electrician/Subcontractor Business Name |  | Electrician/Subcontractor License Number |  |
| Business Address |  |  |  |
|  | ( ) - |  |  |
| Electrician/Subcontractor Contact Name | Phone Number |  | E-mail |

SECTION 4 – Permit Fee

[Include fee schedule/options and/or instructions for calculating fee, directions on how and when to submit the permit fee.]

SECTION 5 – Important Notice

A permit must be obtained for all installations or alterations of electrical equipment BEFORE WORK STARTS. Refer to Solar Permitting Checklist for additional documents required. Failure to provide all required documents, including (1) Site Plan, (2) Electrical Diagram, and (3) Specification Sheets and Installation Manuals will delay permit approval. All permits expire six (6) months after date of issuance. Failure to start the work authorized by a permit within this six-month period renders the permit invalid and a new permit must be obtained. Once work begins, noticeable progress must continue until completion. All work must be complete within eighteen (18) months of a permit issue date.

Please Submit the following additional documents with the Solar PV Permit Application - Site Plan - Electrical Diagram - Specification Sheets and Installation Manuals - [Additional Document – edit or delete as necessary] Submit Permit Application [Describe the submission process, how should the permits be submitted? In-person, on-line, e-mail, fax, etc.]

| SECTION 6 – Applicant Signature |  |
| --- | --- |
| I, the undersigned, certify that I have proper authority to apply for this permit, that the Contractor has obtained a signed contract from the Property Owner for the specified work, that all contractors have consented to being listed, and that all the information contained on this application is true and accurate to the best of my knowledge. |  |
| Name | Title |
| Signature | Date |

| For Office Use Only |  |
| --- | --- |
| Application Number: | Date Applied: |
| Permit Number: | Date Issued: |
| Issued By: |  |